## Table 1
Haiwell PLC products price list
Haiwell PLC A series main MPU
Type | Market price(US$) | DI | DO |  | AI |  | AO | Pulse itput |  | Pulse output | Communication |  | Max module | Size(mm) W x H x D
AC series economy MPU
AC10S0R | 108 | 6 | 4 relay | [7 empty] | LAN+485 |  | 3 | 40×95×65
AC10S0T | 108 | 6 | 4 NPN transistor | [7 empty] | LAN+485 |  | 3
AC10S0P | 108 | 6 | 4 PNP transistor | [7 empty] | LAN+485 |  | 3
AC16S0R | 125 | 8 | 8 relay | [7 empty] | LAN+485 |  | 3
AC16S0T | 125 | 8 | 8 NPN transistor | [7 empty] | LAN+485 |  | 3
AC16S0P | 125 | 8 | 8 PNP transistor | [7 empty] | LAN+485 |  | 3
AC12M0R | 183 | 4 | 4 relay |  | 2 |  | 2 |  |  |  | LAN+485 |  | 3
AC12M0T | 183 | 4 | 4 NPN transistor |  | 2 |  | 2 |  |  |  | LAN+485 |  | 3
AC12M0P | 183 | 4 | 4 PNP transistor |  | 2 |  | 2 |  |  |  | LAN+485 |  | 3
AT series standard MPU
AT16S0R | 158 | 8 | 8 relay |  |  |  |  | 2 Channel A/B 200K |  |  | LAN+485 Max 5 ports |  | 15 | 40×95×65
AT16S0T | 158 | 8 | 8 NPN transistor |  |  |  |  | 2 Channel A/B 200K |  | 2 Channel A/B 200K | LAN+485 Max 5 ports |  | 15
AT16S0P | 158 | 8 | 8 PNP transistor |  |  |  |  | 2 Channel A/B 200K |  | 2 Channel A/B 200K | LAN+485 Max 5 ports |  | 15
AT12M0R | 208 | 4 | 4 relay |  | 2 |  | 2 | 1 Channel A/B 200K |  |  | LAN+485 Max 5 ports |  | 15
AT12M0T | 208 | 4 | 4 NPN transistor |  | 2 |  | 2 | 1 Channel A/B 200K |  | 1 Channel A/B 200K | LAN+485 Max 5 ports |  | 15
AT12M0P | 208 | 4 | 4 PNP transistor |  | 2 |  | 2 | 1 Channel A/B 200K |  | 1 Channel A/B 200K | LAN+485 Max 5 ports |  | 15
AH series high-performance MPU（Support linear interpolation、ARC interpolation、Synchronism pulse output；Support absolute address 、relative address；Support electric original point redefine etc.）
AH16S0R | 233 | 8 | 8 relay |  |  |  |  | 4 Channel A/B 200K |  |  | LAN+485 Max 5 ports |  | 15 | 40×95×65
AH16S0T | 233 | 8 | 8 NPN transistor |  |  |  |  | 4 Channel A/B 200K |  | 4 Channel A/B 200K | LAN+485 Max 5 ports |  | 15
AH16S0P | 233 | 8 | 8 PNP transistor |  |  |  |  | 4 Channel A/B 200K |  | 4 Channel A/B 200K | LAN+485 Max 5 ports |  | 15
Type | Market price(US$) | DI | DO |  | AI |  | AO | Conversion number accuracy |  | Communication |  |  |  | Size(mm) W x H x D
A series PLC digital modules
A08DI | 50 | 8
A08DOR | 75 |  | 8 relay | [10 empty] | 25×95×65
A08DOT | 75 |  | 8 NPN transistor
A08DOP | 75 |  | 8 PNP transistor
A08XDR | 67 | 4 | 4 relay
A08XDT | 67 | 4 | 4 NPN transistor
A08XDP | 67 | 4 | 4 PNP transistor
A16DI | 67 | 16 | [11 empty] | 25×95×65
A16DOR | 93 |  | 16 relay
A16DOT | 93 |  | 16 NPN transistor
A16DOP | 93 |  | 16 PNP transistor
A16XDR | 83 | 8 | 8 relay
A16XDT | 83 | 8 | 8 NPN transistor
A16XDP | 83 | 8 | 8 PNP transistor
A series PLC analog modules
A04AI | 125 |  |  |  | 4 |  |  | 12 bits | [5 empty] | 25×95×65
A04AO | 125 | [5 empty] | 4 | 12 bits
A04XA | 125 |  |  |  | 2 |  | 2 | 12 bits
A08AI | 200 |  |  |  | 8 |  |  | 12 bits
A08AO | 200 | [5 empty] | 8 | 12 bits
A08XA | 200 |  |  |  | 4 |  | 4 | 12 bits
A series PLC temperature and humidity modules
A04DT | 117 | 4 Channel DS18B20, RW1820 temperature sensor, DS1990 sensor or SHT1x, SHT7x temperature and humidity sensor | [11 empty] | 25×95×65
A04TC | 125 |  |  |  | 4 thermocouple |  |  | 16 bits
A04RC | 125 |  |  |  | 4 resistance |  |  | 16 bits
A08TC | 200 |  |  |  | 8 thermocouple |  |  | 16 bits
A series PLC communication modules
A01RS | 75 | With isolation,1 RS232/RS485 communication port,Modbus RTU/ASCII protocol and freedom communication protocol and Haiwellbus high speed communication protocol,Baud rate 1200~115200bps | [11 empty] | 25×95×65
Haiwell PLC main MPU（C/T/H series）
C series economy PLC MPU
Type with ethernet |  |  | Type |  |  | Specification | [7 empty] | Size(mm) W x H x D
24VDC | 220VAC | Market price(US$) | 24VDC | 220VAC | Market price(US$) | DI | DO | AI | AO | Pulse input | Pulse output | Communication | Max module
C10S0R-e | C10S2R-e | 143 | C10S0R | C10S2R | 108 | 6 | 4 relay |  |  |  |  | RS232 + RS485 |  | 93×95×82
C10S0T-e | C10S2T-e | 143 | C10S0T | C10S2T | 108 | 6 | 4 NPN transistor |  |  |  |  | RS232 + RS485
C10S0P-e | C10S2P-e | 143 | C10S0P | C10S2P | 108 | 6 | 4 PNP transistor |  |  |  |  | RS232 + RS485
C16S0R-e | C16S2R-e | 160 | C16S0R | C16S2R | 125 | 8 | 8 relay |  |  |  |  | RS232 + RS485
C16S0T-e | C16S2T-e | 160 | C16S0T | C16S2T | 125 | 8 | 8 NPN transistor |  |  |  |  | RS232 + RS485
C16S0P-e | C16S2P-e | 160 | C16S0P | C16S2P | 125 | 8 | 8 PNP transistor |  |  |  |  | RS232 + RS485
C24S0R-e | C24S2R-e | 185 | C24S0R | C24S2R | 150 | 16 | 8 relay |  |  |  |  | RS232 + RS485
C24S0T-e | C24S2T-e | 185 | C24S0T | C24S2T | 150 | 16 | 8 NPN transistor |  |  |  |  | RS232 + RS485 |  | 131×95×82
C24S0P-e | C24S2P-e | 185 | C24S0P | C24S2P | 150 | 16 | 8 PNP transistor |  |  |  |  | RS232 + RS485
C32S0R-e | C32S2R-e | 202 | C32S0R | C32S2R | 167 | 16 | 16 relay |  |  |  |  | RS232 + RS485
C32S0T-e | C32S2T-e | 202 | C32S0T | C32S2T | 167 | 16 | 16 NPN transistor |  |  |  |  | RS232 + RS485
C32S0P-e | C32S2P-e | 202 | C32S0P | C32S2P | 167 | 16 | 16 PNP transistor |  |  |  |  | RS232 + RS485
C48S0R-e | C48S2R-e | 243 | C48S0R | C48S2R | 208 | 28 | 20 relay |  |  |  |  | RS232 + RS485 |  | 177×95×82
C48S0T-e | C48S2T-e | 243 | C48S0T | C48S2T | 208 | 28 | 20 NPN transistor |  |  |  |  | RS232 + RS485
C48S0P-e | C48S2P-e | 243 | C48S0P | C48S2P | 208 | 28 | 20 PNP transistor |  |  |  |  | RS232 + RS485
C60S0R-e | C60S2R-e | 285 | C60S0R | C60S2R | 250 | 36 | 24 relay |  |  |  |  | RS232 + RS485
C60S0T-e | C60S2T-e | 285 | C60S0T | C60S2T | 250 | 36 | 24 NPN transistor |  |  |  |  | RS232 + RS485
C60S0P-e | C60S2P-e | 285 | C60S0P | C60S2P | 250 | 36 | 24 PNP transistor |  |  |  |  | RS232 + RS485
T series standard PLC MPU
Type with ethernet |  |  | Type |  |  | Specification | [7 empty] | Size(mm) W x H x D
24VDC | 220VAC | Market price(US$) | 24VDC | 220VAC | Market price(US$) | DI | DO | AI | AO | Pulse input | Pulse output | Communication | Max module
T16S0R-e | T16S2R-e | 193 | T16S0R | T16S2R | 158 | 8 | 8 relay |  |  | 2 Channel A/B phase (4 Point) 200K |  | RS232 + RS485， Max 5 ports |  | 93×95×82
T16S0T-e | T16S2T-e | 193 | T16S0T | T16S2T | 158 | 8 | 8 NPN transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T16S0P-e | T16S2P-e | 193 | T16S0P | T16S2P | 158 | 8 | 8 PNP transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T24S0R-e | T24S2R-e | 218 | T24S0R | T24S2R | 183 | 16 | 8 relay |  |  | 2 Channel A/B phase (4 Point) 200K |  | RS232 + RS485， Max 5 ports |  | 131×95×82
T24S0T-e | T24S2T-e | 218 | T24S0T | T24S2T | 183 | 16 | 8 NPN transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T24S0P-e | T24S2P-e | 218 | T24S0P | T24S2P | 183 | 16 | 8 PNP transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T32S0R-e | T32S2R-e | 243 | T32S0R | T32S2R | 208 | 16 | 16 relay |  |  | 2 Channel A/B phase (4 Point) 200K |  | RS232 + RS485， Max 5 ports
T32S0T-e | T32S2T-e | 243 | T32S0T | T32S2T | 208 | 16 | 16 NPN transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T32S0P-e | T32S2P-e | 243 | T32S0P | T32S2P | 208 | 16 | 16 PNP transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T48S0R-e | T48S2R-e | 293 | T48S0R | T48S2R | 258 | 28 | 20 relay |  |  | 2 Channel A/B phase (4 Point) 200K |  | RS232 + RS485， Max 5 ports |  | 177×95×82
T48S0T-e | T48S2T-e | 293 | T48S0T | T48S2T | 258 | 28 | 20 NPN transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T48S0P-e | T48S2P-e | 293 | T48S0P | T48S2P | 258 | 28 | 20 PNP transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T60S0R-e | T60S2R-e | 343 | T60S0R | T60S2R | 308 | 36 | 24 relay |  |  | 2 Channel A/B phase (4 Point) 200K |  | RS232 + RS485， Max 5 ports
T60S0T-e | T60S2T-e | 343 | T60S0T | T60S2T | 308 | 36 | 24 NPN transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
T60S0P-e | T60S2P-e | 343 | T60S0P | T60S2P | 308 | 36 | 24 PNP transistor |  |  | 2 Channel A/B phase (4 Point) 200K | 2 Channel A/B phase (4 Point) 200K | RS232 + RS485， Max 5 ports
H series high-performance PLC MPU（Support linear interpolation、ARC interpolation、Synchronism pulse output；Support absolute address 、relative address；Support electric original point redefine etc.）
Type with ethernet |  |  | Type |  |  | Specification | [7 empty] | Size(mm) W x H x D
24VDC | 220VAC | Market price(US$) | 24VDC | 220VAC | Market price(US$) | DI | DO | AI | AO | Pulse input | Pulse output | Communication | Max module
H16S0R-e | H16S2R-e | 285 | H16S0R | H16S2R | 250 | 8 | 8 relay |  |  | 4 Channel A/B phase (8 Point) 200K |  | RS232 + RS485， Max 5 ports | 7 | 93×95×82
H16S0T-e | H16S2T-e | 285 | H16S0T | H16S2T | 250 | 8 | 8 NPN transistor |  |  | 4 Channel A/B phase (8 Point) 200K | 4 Channel A/B phase (8 Point) 200K | RS232 + RS485， Max 5 ports | 7
H16S0P-e | H16S2P-e | 285 | H16S0P | H16S2P | 250 | 8 | 8 PNP transistor |  |  | 4 Channel A/B phase (8 Point) 200K | 4 Channel A/B phase (8 Point) 200K | RS232 + RS485， Max 5 ports | 7
H24S0R-e | H24S2R-e | 318 | H24S0R | H24S2R | 283 | 12 | 12 relay |  |  | 4 Channel A/B phase (8 Point) 200K |  | RS232 + RS485， Max 5 ports | 7
H24S0T-e | H24S2T-e | 318 | H24S0T | H24S2T | 283 | 12 | 12 NPN transistor |  |  | 6 Channel A/B phase (12 Point) 200K | 6 Channel A/B phase (12 Point) 200K | RS232 + RS485， Max 5 ports | 7
H24S0P-e | H24S2P-e | 318 | H24S0P | H24S2P | 283 | 12 | 12 PNP transistor |  |  | 6 Channel A/B phase (12 Point) 200K | 6 Channel A/B phase (12 Point) 200K | RS232 + RS485， Max 5 ports | 7
H32S0R-e | H32S2R-e | 352 | H32S0R | H32S2R | 317 | 16 | 16 relay |  |  | 4 Channel A/B phase (8 Point) 200K |  | RS232 + RS485， Max 5 ports | 7 | 131×95×82
H32S0T-e | H32S2T-e | 352 | H32S0T | H32S2T | 317 | 16 | 16 NPN transistor |  |  | 6 Channel A/B phase (12 Point) 200K | 6 Channel A/B phase (12 Point) 200K | RS232 + RS485， Max 5 ports | 7
H32S0P-e | H32S2P-e | 352 | H32S0P | H32S2P | 317 | 16 | 16 PNP transistor |  |  | 6 Channel A/B phase (12 Point) 200K | 6 Channel A/B phase (12 Point) 200K | RS232 + RS485， Max 5 ports | 7
H40S0R-e | H40S2R-e | 385 | H40S0R | H40S2R | 350 | 20 | 20 relay |  |  | 4 Channel A/B phase (8 Point) 200K |  | RS232 + RS485， Max 5 ports | 7
H40S0T-e | H40S2T-e | 385 | H40S0T | H40S2T | 350 | 20 | 20 NPN transistor |  |  | 8 Channel A/B phase (16 Point) 200K | 8 Channel A/B phase (16 Point) 200K | RS232 + RS485， Max 5 ports | 7
H40S0P-e | H40S2P-e | 385 | H40S0P | H40S2P | 350 | 20 | 20 PNP transistor |  |  | 8 Channel A/B phase (16 Point) 200K | 8 Channel A/B phase (16 Point) 200K | RS232 + RS485， Max 5 ports | 7
H60S0R-e | H60S2R-e | 435 | H60S0R | H60S2R | 400 | 36 | 24 relay |  |  | 4 Channel A/B phase (8 Point) 200K |  | RS232 + RS485， Max 5 ports | 7 | 177×95×82
H60S0T-e | H60S2T-e | 435 | H60S0T | H60S2T | 400 | 36 | 24 NPN transistor |  |  | 8 Channel A/B phase (16 Point) 200K | 8 Channel A/B phase (16 Point) 200K | RS232 + RS485， Max 5 ports | 7
H60S0P-e | H60S2P-e | 435 | H60S0P | H60S2P | 400 | 36 | 24 PNP transistor |  |  | 8 Channel A/B phase (16 Point) 200K | 8 Channel A/B phase (16 Point) 200K | RS232 + RS485， Max 5 ports | 7
Haiwell PLC provide many extend modules，extend module built-in RS485 Communication port，support remote IO function
Digital modules
Type with ethernet |  |  | Type |  |  | Specification | [7 empty] | Size(mm) W x H x D
24VDC | 220VAC | Market price(US$) | 24VDC | 220VAC | Market price(US$) | DI | DO | Max module
|  |  | H08DI |  | 50 | 8 | [7 empty] | 30×95×82
|  |  | H08DOR |  | 75 |  | 8 relay
|  |  | H08DOT |  | 75 |  | 8 NPN transistor
|  |  | H08DOP |  | 75 |  | 8 PNP transistor
|  |  | H08XDR |  | 67 | 4 | 4 relay
|  |  | H08XDT |  | 67 | 4 | 4 NPN transistor
|  |  | H08XDP |  | 67 | 4 | 4 PNP transistor
|  |  | H16DI |  | 75 | 16 |  | RS485，support remote function | [5 empty] | 70×95×82
|  |  | H16DOR |  | 100 |  | 16 relay | RS485，support remote function
|  |  | H16DOT |  | 100 |  | 16 NPN transistor | RS485，support remote function
|  |  | H16DOP |  | 100 |  | 16 PNP transistor | RS485，support remote function
|  |  | H16XDR |  | 92 | 8 | 8 relay | RS485，support remote function
|  |  | H16XDT |  | 92 | 8 | 8 NPN transistor | RS485，support remote function
|  |  | H16XDP |  | 92 | 8 | 8 PNP transistor | RS485，support remote function
H24DI-e |  | 125 | H24DI |  | 100 | 24 |  | RS485，support remote function | [5 empty] | 93×95×82
H24XDR-e |  | 150 | H24XDR |  | 125 | 12 | 12 relay | RS485，support remote function
H24XDT-e |  | 150 | H24XDT |  | 125 | 12 | 12 NPN transistor | RS485，support remote function
H24XDP-e |  | 150 | H24XDP |  | 125 | 12 | 12 PNP transistor | RS485，support remote function
H40DI-e |  | 183 | H40DI |  | 158 | 40 |  | RS485，support remote function | [5 empty] | 131×95×82
H36DOR-e |  | 233 | H36DOR |  | 208 |  | 36 relay | RS485，support remote function
H36DOT-e |  | 233 | H36DOT |  | 208 |  | 36 NPN transistor | RS485，support remote function
H36DOP-e |  | 233 | H36DOP |  | 208 |  | 36 PNP transistor | RS485，support remote function
H40XDR-e |  | 208 | H40XDR |  | 183 | 20 | 20 relay | RS485，support remote function
H40XDT-e |  | 208 | H40XDT |  | 183 | 20 | 20 NPN transistor | RS485，support remote function
H40XDP-e |  | 208 | H40XDP |  | 183 | 20 | 20 PNP transistor | RS485，support remote function
H64XDR-e |  | 333 | H64XDR |  | 308 | 32 | 32 relay | RS485，support remote function | [5 empty] | 177×95×82
H64XDT-e |  | 333 | H64XDT |  | 308 | 32 | 32 NPN transistor | RS485，support remote function
H64XDP-e |  | 333 | H64XDP |  | 308 | 32 | 32 PNP transistor | RS485，support remote function
Note：Extend module built-in Communication function：as well as support parallel bus, also support serial bus, extended by parallel bus(be remote function), don't limited by extend point of the system, can install distruted.
Analog modules
Type with ethernet |  |  | Type |  |  | Specification | [7 empty] | Size(mm) W x H x D
24VDC | 220VAC | Market price(US$) | 24VDC | 220VAC | Market price(US$) | AI |  |  | AO | Conversion number accuracy | Communication
|  |  | S04AI |  | 133 | 4 |  |  |  | 12 bits | RS485，support remote function |  |  | 70×95×82
|  |  | S04AO |  | 133 |  |  |  | 4 | 12 bits | RS485，support remote function
|  |  | S04XA |  | 133 | 2 |  |  | 2 | 12 bits | RS485，support remote function
S08AI-e |  | 242 | S08AI |  | 217 | 8 |  |  |  | 12 bits | RS485，support remote function |  |  | 93×95×82
S08AO-e |  | 242 | S08AO |  | 217 |  |  |  | 8 | 12 bits | RS485，support remote function
S08XA-e |  | 242 | S08XA |  | 217 | 4 |  |  | 4 | 12 bits | RS485，support remote function
Note：1), extend module built-in Communication function：as well as support parallel bus, also support serial bus, extended by parallel bus(be remote function), don't limited by extend point of the system, can install distruted. 2), Analog AI、AO support 6 type signals：[4,20]mA、[0,20]mA、[1,5]V、[0,5]V、[0,10]V、[-10,10]V
Temperature and humidity modules
Type with ethernet |  |  | Type |  |  | Specification | [7 empty] | Size(mm) W x H x D
24VDC | 220VAC | Market price(US$) | 24VDC | 220VAC | Market price(US$) | AI |  |  | AO | Conversion number accuracy | Communication
|  |  | H04DT |  | 117 | 4 Channel DS18B20, RW1820 temperature sensor, DS1990 sensor or SHT1x, SHT7x temperature and humidity sensor |  |  |  | 9~12bits |  |  |  | 30×95×82
|  |  | H32DT |  | 250 | 32 Channel DS18B20, RW1820 temperature sensor, DS1990 sensor |  |  |  | 9~12bits
|  |  | H04TC |  | 133 | 4 thermocouple |  |  |  | 16 bits | RS485，support remote function |  |  | 70×95×82
|  |  | H04RC |  | 133 | 4 thermal resistance |  |  |  | 16 bits | RS485，support remote function
|  |  | H08TC |  | 217 | 8 thermocouple |  |  |  | 16 bits | RS485，support remote function
H08RC-e |  | 242 | H08RC |  | 217 | 8 thermal resistance |  |  |  | 16 bits | RS485，support remote function |  |  | 93×95×82
Note：1), extend module built-in Communication function：as well as support parallel bus, also support serial bus, extended by parallel bus(be remote function), don't limited by extend point of the system, can install distruted. 2), Thermocouple module support：S、K、T、E、J、B、N、R、Wre3/25、Wre5/26、[0,20]mV、[0,50]mV、[0,100]mV 3), Thermal resistance module support：Pt100、Pt1000、Cu50、Cu100
Functional modules
Type with ethernet |  |  | Type |  |  | Specification | [7 empty] | Size(mm) W x H x D
24VDC | 220VAC | Market price(US$) | 24VDC | 220VAC | Market price(US$) | AI |  |  | AO | Conversion number accuracy | Communication
|  |  | H01WG |  | 150 | 1 Weighing sensor |  |  |  | 24 bits | RS485，support remote function |  |  | 30×95×82
|  |  | H02WG |  | 250 | 2 Weighing sensor |  |  |  | 24 bits
Note：Extend module built-in Communication function：as well as support parallel bus, also support serial bus, extended by parallel bus(be remote function), don't limited by extend point of the system, can install distruted.
Communication modules
Type | Market price(US$) | Specification | [11 empty] | Size(mm) W x H x D
S01RS | 75 | With isolation,1 RS232/RS485 communication port,Modbus RTU/ASCII protocol and freedom communication protocol and Haiwellbus high speed communication protocol,Baud rate 1200~57600bps | [11 empty] | 30×95×82
Communications isolator and converter module
Type | Market price(US$) | Specification | [11 empty] | Size(mm) W x H x D
S01GL | 50 | Communication conversion isolation module, with the function of relay, baud rate adaptive, 24 VDC power supply | [11 empty] | 30×95×82
Accessory
Type | Market price(US$) | Specification | [11 empty] | Size(mm) W x H x D
ACA20 | 5 | RS232 Programming cable, 2.0m, For PLC